## Sheet1
An Incomplete list of XRF beamlines
Facility | Beamline | Energy range [keV] |  | Beam size [um] |  | Webpage
MAX IV | NanoMAX | 5 | 30 | 0.03 x 0.03 | 0.2 x 0.2 | https://www.maxiv.lu.se/accelerators-beamlines/beamlines/nanomax/ | https://www.maxiv.lu.se/accelerators-beamlines/beamlines/nanomax/
MAX IV | SoftiMAX | 0.275 | 2.5 | 0.02 x 0.02 | 20 x 20 | https://www.maxiv.lu.se/accelerators-beamlines/beamlines/softimax/ | https://www.maxiv.lu.se/accelerators-beamlines/beamlines/softimax/
MAX IV | Balder | 2.4 | 40 | 100 x 100 | 2000 x 9000 | https://www.maxiv.lu.se/accelerators-beamlines/beamlines/balder/ | https://www.maxiv.lu.se/accelerators-beamlines/beamlines/balder/
ESRF | ID10 | 7 | 30 | 300 x 10 | 1000 x 500 | http://www.esrf.eu/home/UsersAndScience/Experiments/CBS/beamline-snapshots/content/content-list/id10eh1.html | http://www.esrf.eu/home/UsersAndScience/Experiments/CBS/beamline-snapshots/content/content-list/id10eh1.html
ESRF | ID13 | 7 | 30 | 0.1 x 0.1 | 20 x 20 | http://www.esrf.eu/home/UsersAndScience/Experiments/XNP/beamline-snapshots/content/content-list/id13.html | http://www.esrf.eu/home/UsersAndScience/Experiments/XNP/beamline-snapshots/content/content-list/id13.html
ESRF | ID16 | 17 | 33.6 |  |  | http://www.esrf.eu/UsersAndScience/Experiments/XNP/ID16A | http://www.esrf.eu/UsersAndScience/Experiments/XNP/ID16A
ESRF | ID21 | 2.1 | 9.2 | 0.7 x 0.3 | 2 x 2 | http://www.esrf.eu/home/UsersAndScience/Experiments/XNP/beamline-snapshots/content/content-list/id21.html | http://www.esrf.eu/home/UsersAndScience/Experiments/XNP/beamline-snapshots/content/content-list/id21.html
ESRF | ID22 | 6 | 80 |  |  | http://www.esrf.eu/id22 | http://www.esrf.eu/id22
ESRF | ID27 | 20 | 90 | 2.7 x 1.7 | 4 x 1 | http://www.esrf.eu/home/UsersAndScience/Experiments/MEx/beamline-snapshots/content/content-list/id27.html | http://www.esrf.eu/home/UsersAndScience/Experiments/MEx/beamline-snapshots/content/content-list/id27.html
ESRF | BM16 | 4.8 | 20 | 200 x 100 | 200 x 100 | http://www.esrf.eu/home/UsersAndScience/Experiments/CRG/beamline-snapshots/content/content/BM16.html | http://www.esrf.eu/home/UsersAndScience/Experiments/CRG/beamline-snapshots/content/content/BM16.html
ESRF | BM23 | 5 | 75 | 3 x 3 | 13000 x 1000 | http://www.esrf.eu/home/UsersAndScience/Experiments/MEx/BM23.html | http://www.esrf.eu/home/UsersAndScience/Experiments/MEx/BM23.html
ESRF | BM30B | 4.8 | 40 | 200 x 100 | 200 x 100 | http://www.esrf.eu/home/UsersAndScience/Experiments/CRG/beamline-snapshots/content/content/bm30b.html | http://www.esrf.eu/home/UsersAndScience/Experiments/CRG/beamline-snapshots/content/content/bm30b.html
DIAMOND | I08 | 0.25 | 4.2 | 0.02 x 0.02 |  | http://www.diamond.ac.uk/Beamlines/Spectroscopy/I08.html | http://www.diamond.ac.uk/Beamlines/Spectroscopy/I08.html
DIAMOND | I14 | 5 | 25 | 0.05 x 0.05 |  | http://www.diamond.ac.uk/Beamlines/Spectroscopy/I14.html | http://www.diamond.ac.uk/Beamlines/Spectroscopy/I14.html
DIAMOND | I18 | 2.05 | 20.5 | 2 x 1.8 | 7 x 1.8 | http://www.diamond.ac.uk/Beamlines/Spectroscopy/I18.html | http://www.diamond.ac.uk/Beamlines/Spectroscopy/I18.html
DIAMOND | B14 | 2.05 | 35 | 200 x 250 |  | http://www.diamond.ac.uk/Beamlines/Spectroscopy/B18.html | http://www.diamond.ac.uk/Beamlines/Spectroscopy/B18.html
SOLEIL | DIFFABS | 3 | 23 | 10 x 10 | 250 x 300 | https://www.synchrotron-soleil.fr/en/beamlines/diffabs | https://www.synchrotron-soleil.fr/en/beamlines/diffabs
SOLEIL | LUCIA | 0.6 | 8 | 1 x 3 |  | https://www.synchrotron-soleil.fr/en/beamlines/lucia | https://www.synchrotron-soleil.fr/en/beamlines/lucia
SOLEIL | MARS | 5 | 36 | 15 x 15 | 300 x 300 | https://www.synchrotron-soleil.fr/en/beamlines/mars | https://www.synchrotron-soleil.fr/en/beamlines/mars
SOLEIL | NANOSCOPIUM | 5 | 20 | 0.1 x 0.1 | 1 x 1 | https://www.synchrotron-soleil.fr/en/beamlines/nanoscopium | https://www.synchrotron-soleil.fr/en/beamlines/nanoscopium
SOLEIL | PUMA | 4 | 60 | 3 x 1.5 | 20000 x 12000 | https://www.synchrotron-soleil.fr/en/beamlines/puma | https://www.synchrotron-soleil.fr/en/beamlines/puma
SOLEIL | SIRIUS | 1.4 | 13 | 600 x 1400 | 1000 x 1700 | https://www.synchrotron-soleil.fr/en/beamlines/sirius | https://www.synchrotron-soleil.fr/en/beamlines/sirius
SWISS LIGHT SOURCE | SuperXAS | 4.5 | 35 | 0.1 x 0.1 | 5000 x 500 | https://www.psi.ch/sls/superxas/superxas | https://www.psi.ch/sls/superxas/superxas
SWISS LIGHT SOURCE | PHOENIX | 0.8 | 8 | 2.5 x 2.5 |  | https://www.psi.ch/sls/phoenix/phoenix | https://www.psi.ch/sls/phoenix/phoenix
SWISS LIGHT SOURCE | microXAS | 3 | 23 | 1 x 1 |  | https://www.psi.ch/sls/microxas/micro-xas | https://www.psi.ch/sls/microxas/micro-xas
PETRA III | P01 | 2.5 | 80 | 4 x 7 | 3000 x 1000 | http://photon-science.desy.de/facilities/petra_iii/beamlines/p01_dynamics/index_eng.html | http://photon-science.desy.de/facilities/petra_iii/beamlines/p01_dynamics/index_eng.html
PETRA III | P02 | 8.6 | 100 | 2 x 2 | 600 x 900 | http://photon-science.desy.de/facilities/petra_iii/beamlines/p02_hard_x_ray_diffraction_beamline/unified_data_sheet/index_eng.html | http://photon-science.desy.de/facilities/petra_iii/beamlines/p02_hard_x_ray_diffraction_beamline/unified_data_sheet/index_eng.html
PETRA III | P06 | 5 | 50 | 0.08 x 0.08 | 0.5 x 1.5 | http://photon-science.desy.de/facilities/petra_iii/beamlines/p06_hard_x_ray_micro_nano_probe/unified_data_sheet_p06/index_eng.html | http://photon-science.desy.de/facilities/petra_iii/beamlines/p06_hard_x_ray_micro_nano_probe/unified_data_sheet_p06/index_eng.html
ELETTRA | TWINMIC | 0.4 | 2.2 | 0.05 |  | https://www.elettra.trieste.it/elettra-beamlines/twinmic.html | https://www.elettra.trieste.it/elettra-beamlines/twinmic.html
ELETTRA | X-Ray Fluorescence | 2 | 14 |  |  | https://www.elettra.trieste.it/lightsources/elettra/elettra-beamlines/microfluorescence/x-ray-fluorescence.html | https://www.elettra.trieste.it/lightsources/elettra/elettra-beamlines/microfluorescence/x-ray-fluorescence.html
BESSY II | BAMline | 5 | 100 |  |  | https://www.helmholtz-berlin.de/pubbin/igama_output?modus=einzel&sprache=en&gid=1658&typoid=37587 | https://www.helmholtz-berlin.de/pubbin/igama_output?modus=einzel&sprache=en&gid=1658&typoid=37587
BESSY II | KMC-2 | 4 | 15 | 5 |  | https://www.helmholtz-berlin.de/pubbin/igama_output?modus=einzel&sprache=en&gid=1694&typoid=37587 | https://www.helmholtz-berlin.de/pubbin/igama_output?modus=einzel&sprache=en&gid=1694&typoid=37587
BESSY II | mySpot | 6 | 30 | 1.5 | 20 | https://www.helmholtz-berlin.de/pubbin/igama_output?modus=einzel&sprache=en&gid=1697&typoid=37587 | https://www.helmholtz-berlin.de/pubbin/igama_output?modus=einzel&sprache=en&gid=1697&typoid=37587
APS | 2-ID-D | 5 | 30 | 0.2 x 0.2 |  | https://www.aps.anl.gov/Beamlines/Directory/Details?beamline_id=5 | https://www.aps.anl.gov/Beamlines/Directory/Details?beamline_id=5
APS | 2-ID-E | 7 | 0.5 | 0.5 x 0.3 | 2000 x 2000 | https://www.aps.anl.gov/Beamlines/Directory/Details?beamline_id=61 | https://www.aps.anl.gov/Beamlines/Directory/Details?beamline_id=61
APS | 9-ID-B,C | 4.5 | 30 |  | 1500 x 800 | https://www.aps.anl.gov/Beamlines/Directory/Details?beamline_id=13 | https://www.aps.anl.gov/Beamlines/Directory/Details?beamline_id=13
APS | 13-ID-E | 2.4 | 28 |  |  | https://www.aps.anl.gov/Beamlines/Directory/Details?beamline_id=62 | https://www.aps.anl.gov/Beamlines/Directory/Details?beamline_id=62
APS | 26-ID | 6 | 12 |  |  | https://www.aps.anl.gov/Microscopy/Beamlines/26-ID | https://www.aps.anl.gov/Microscopy/Beamlines/26-ID
APS | 34-ID-E | 7 | 30 | 0.3 X 0.3 |  | https://www.aps.anl.gov/Beamlines/Directory/Details?beamline_id=204 | https://www.aps.anl.gov/Beamlines/Directory/Details?beamline_id=204
ALS | 10.3.2 | 2.1 | 17 | 0.8 x 1.1 | 8 x 5 | https://sites.google.com/lbl.gov/lbnl-als-1032 | https://sites.google.com/lbl.gov/lbnl-als-1032
NSLS-II | 3-ID | 6 | 25 | 0.01 x 0.01 | 0.03 x 0.03 | https://www.bnl.gov/ps/beamlines/beamline.php?r=3-ID | https://www.bnl.gov/ps/beamlines/beamline.php?r=3-ID
NSLS-II | 4-BM | 4 | 20 | 1 to 10 | 1000 | https://www.bnl.gov/ps/beamlines/beamline.php?r=4-BM | https://www.bnl.gov/ps/beamlines/beamline.php?r=4-BM
NSLS-II | 5-ID | 4.65 | 25 | 0.5 x 0.5 |  | https://www.bnl.gov/ps/beamlines/srx/general/ | https://www.bnl.gov/ps/beamlines/srx/general/
Australian Synchrotron | X-ray Fluorescence Microscopy | 4.1 | 20 | 1 x 1 | 200 x 200 | http://www.synchrotron.org.au/aussyncbeamlines/x-ray-fluorescence-microscopy/techniques-available | http://www.synchrotron.org.au/aussyncbeamlines/x-ray-fluorescence-microscopy/techniques-available